## Sheet1
NO | QTY | Description | Signals | Type
Vacuum Unit
1 | 2 | 220v Cooling Fans | 2 | Digital
2 | 2 | 220V Safety Valves | 2 | Digital
3 | 2 | 250kW Soft Starters | 2 | Digital
4 | 2 | Temp sensors |  | Analogue
Filter Unit
1 | 6 | Air pulsing valves | 2 | Digital
2 | 2 | Screw Hydrailic | 2 | Digital
3 | 1 | Gate Valve | 1 | Digital
4 | 2 | Vacuum sensor | 1 | Analogue
5 | 1 | Pressure Sensor | 1 | Analogue
HYD Function - M100 Valve
6 | 1 | Valve - Back Screw Actuate
7 | 1 | Valve - Front Screw Actuate
8 | 1 | Knife Gate Valve Actuate
9 | 1 | Knife Gate Proxy
10 | 1 | Pressure Sensor Knife Gate
Collector Unit
1 | 2 | Screw Hydrailic | 2 | Digital
2 | 1 | Gate Valve | 1 | Digital
3 | 1 | Louvre Air Valve | 1 | Digital
4 | 0 | Level Sensor | 1 | Analogue
5 | 2 | 220V Vibrator Motors | 2 | Digital
HYD Function - M099 Valve
6 | 1 | Valve - Back Screw Actuate
7 | 1 | Valve - Front Screw Actuate
8 | 1 | Knife Gate Valve Actuate
9 | 1 | Knife Gate Proxy
10 | 1 | Pressure Sensor Knife Gate